## Recommendation
Kaileigh Vincent-Welling
Engineering 115
Instructor Radecsky
2013-10-11
City of Arcata,
It is within my capability to justify the recommendation to use Compact Fluorescent Light (CFL) bulbs as opposed to installing Photovoltaics. According to the data collected in different angles in relation to the sun, assuming that there are four hours of sunlight per day, the CFL bulb saved 772000 kWh of Energy, which is approximately 36.5 times more energy-efficient than PVs. In addition to energy savings, CFL is more cost-efficient. They would save the city $100,360, which is again around 36.5 times more than the amount of money PVs would save you. If there is an interest in even more energy and cost savings, Light-Emitting Diode (LED) bulbs would save the city 918,919 kWh in energy and $127, 649.51, which is approximately 1.2 times more efficient than CFL bulbs and 43.5 times more efficent than PVs. Therefore, with the limited funds the city has, purchasing LED bulbs would be, overall, the best recommendation for me to give because not only do they have a longer life expectancy, but in the long-run, they would save you the most energy and money according to the diverse data collected and averaged for the best results.

## Analysis
Input Parameters:
Project Budget | 10000
PV system cost ($/m2) | 700
PV system effieciency | 12%
PV system life expectancy (years) | 20
Power [cost/kWh] | 0.13
Multiplier [W/m2/mV] | 4.14
life expectancy of LED bulb [hrs] | 50000
cost/LEDbulb | 35.95
how many LED bulbs city can buy | 278.1641
life expectancy of CFL bulb [hrs] | 8000
(http://www.designrecycleinc.com/led%20comp%20chart.html)
cost/CFLbulb | 6
how many CFL bulbs city can buy | 1666.6667
Calculations (based on average) | Power Saved [W] | Energy Saved [kWh] | Money Saved
PV System [W] | 729.1605 | 21291.4853 | 2767.8931
CFL | 96500 | 772000 | 100360
LED | 19638.3866 | 981919.3324 | 127649.5132
Assumptions
4 hours of sunlight per day
the cost of each CFL and LED is universal
properly working equipment
Solar Data
Orientation | mV signal | Solar Radiation [W/m2]
diffuse (covered) | 100.5 | 416.07
global (open) | 140 | 579.6
direct (focused) | 162 | 670.68
Under roof | 15.6 | 64.584
Between white poles | 95.6 | 395.784
Average | 102.74 | 425.3436
Light Bulb Data
Light Bulb Type | Measured Power [W] | Rated Power [W]
Incandescent | 76.5 | 75
CFL | 18.6 | 20
LED | 5.9 | 7.5