## load calculations
Home Energy Audit |  |  |  |  | Name/Date: |  |  |  |  | Assumptions:
[10 empty] | 24 | hr/day
|  |  |  | Run | Phantom-Load | Hours | Days | Avg WattHr |  | 7 | day/week
Load Name/Description | Qty | Volts* | Amps | Watts** | Watts*** | /Day | /Wk | /Day**** | % Load | 30 | day/month
|  |  |  | 0 | [5 empty] | 1000 | W/kW
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total WattHr/Day
Total KWh/30Days
*If volts are not stated and you are in a modern US house, assume 117 Volts.
**Watts=Amps x Volts. Fill in Watts manually if missing volts or amps.
***These are never stated on appliance. Try looking it up similar devices, or use a watt-meter.
****Avg WattHr/day = qty * [Run Watts x Hours/Day x Days/Wk x 1/7 + PhantomLoad Watts * (24 - hours/day * days/Wk * 1/7)]
Writeup: