## Introduction
Reducing CPU Power Consumption with Energy Efficient Power Supplies
This ECM can be used to determine the cost and energy savings derived from replacing a computer’s old power supply with a new energy efficient power supply.
Example
Assume your organization has 10 computers rated at 250 W that are currently using power supplies that are only 65% efficient for 6 hours a day. This ECM will display IRR and the possible savings over the course of 8 years if the computer power supplies are replaced with power supplies that are ~82% efficient and cost ~$52.00 each. This ECM will also calculate the environmental benefits associated with using less electricity.
Projected Savings
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8
Net Cash Flow | -402.6747 | 187.2283 | 187.2714 | 187.3145 | 187.3576 | 187.4007 | 187.4438 | 187.4869
Cumulative NCF | -402.6747 | -215.4464 | -28.1749 | 159.1395 | 346.4971 | 533.8978 | 721.3415 | 908.8284
Net CO2 Savings [kg] | 267.919 | 267.919 | 267.919 | 267.919 | 267.919 | 267.919 | 267.919 | 267.919
|  | IRR | 43%
Note: The cash follows produced through calculation are based on referenced assumptions, they can be found here.
Assumptions
Disclaimer:
The information provided here is for informational purposes only. By no means is any information presented herein intended to substitute for the advice which may be provided to you by a professional. We make no warranties of any kind, express or implied, about the completeness, accuracy, or reliability of the data or calculations. For this reason, Queen's University and/or participants of the "Green IT" Project cannot be held responsible for any mistakes or deficiencies in the data or calculations.

## Inputs
Inputs
Directions
Please add the number of computer available for the potential upgrade, their current rated power, an estimate of how many hours a day that each computer is on, and their current power supply efficiency.
Number of Computers | 10
Computer Power Rating | 250 | [W]
Hours a Day the Computer is On | 8 | [hr]
Current Power Supply Efficiency | 70% | [%]
Directions
Please select from the drop down list (click in cell A21) a new power supply. A complete list of the power supplies is available on the Assumptions & References page.
Power Supply (drop down list) | Efficiency | Price | Rate Power [W] | 80+ Rating
Dynapower USA: TC-1U25P80 | 86% | 76.38 | 250 | Bronze
Note
Please insure that the power supply selected meets the power requirements of your computers.

## Executive Summary
Executive Summary
Purpose of the ECM:
Computers are a large component of any modern business, they are frequently used and consistently using power. One of the most effective ways to reduce the amount of electricity used by computers is to replace old power supplies with new energy efficient ones. By replacing old power supplies with new efficient one's it is possible to reduce the electricity needed to power the computer without reducing the performance of the computer in any way. Saving electricity also reduces emissions that are created during power generation and therefore is environmentally friendly.
Overview
Assuming your organization will replace |  | 10 | computer's power supplies with new |  |  |  | 86% | efficient ones, and
the computers are powered on | 8 | hours a day for |  | 5 | days a week.
Replacing the power supplies will cost |  | 67 | per unit and save |  | 28.6314 | kilograms per computer of CO2 over their
life time.
IRR | 16.23%
By installing new power supplies the following financial and environmental savings will be incurred.
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Net Cash Flow | -863.094 | 200.0372 | 200.0832 | 200.1292 | 200.1753 | 200.2213 | 200.2674 | 200.3134 | 200.3595
Cumulative Cash Flow | -863.094 | -663.0568 | -462.9736 | -262.8443 | -62.6691 | 137.5522 | 337.8196 | 538.133 | 738.4925
Net CO2 Savings [kg] | 0 | 286.314 | 286.314 | 286.314 | 286.314 | 286.314 | 286.314 | 286.314 | 286.314
NO2 Savings [kg] | 0 | 1.655 | 1.655 | 1.655 | 1.655 | 1.655 | 1.655 | 1.655 | 1.655
NoX Savings [kg] | 0 | 0.76369 | 0.76369 | 0.76369 | 0.76369 | 0.76369 | 0.76369 | 0.76369 | 0.76369

## Projected Savings
|  |  |  | Yr1 | Yr2 | Yr3 | Yr4 | Yr5 | Yr6 | Yr7 | Yr8
Inputs | A | Number of Computers |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| B | Computer Power Rating [W] |  | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250
| C | Hour is use [hr] |  | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
| D | Rated Daily Power Usage [Wh] |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
| E | Cost of Electricity [$/kWh] |  | 0.1568 | 0.15684 | 0.15687 | 0.15691 | 0.15694 | 0.15698 | 0.15702 | 0.15705
Current | F1 | Power Supply Efficiency |  | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70%
| G1 | Daily Power Usage per CPU [Wh] (D/F1) |  | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429
| H1 | Total Daily Power Usage [kWh] (G1*A/1000) |  | 28.5714 | 28.5714 | 28.5714 | 28.5714 | 28.5714 | 28.5714 | 28.5714 | 28.5714
| I1 | Yearly Power Usage per CPU [kWh] (G1*DAYS) |  | 685.7143 | 685.7143 | 685.7143 | 685.7143 | 685.7143 | 685.7143 | 685.7143 | 685.7143
| J1 | Total Yearly Power Usage [kWh] (H1*A) |  | 6857.1429 | 6857.1429 | 6857.1429 | 6857.1429 | 6857.1429 | 6857.1429 | 6857.1429 | 6857.1429
| K1 | Yearly Cost per CPU[$] (E1*I1) |  | 107.52 | 107.5447 | 107.5695 | 107.5942 | 107.619 | 107.6437 | 107.6685 | 107.6932
| L1 | Total Yearly Cost [$] (E1*J1) |  | 1075.2 | 1075.4473 | 1075.6946 | 1075.9421 | 1076.1895 | 1076.437 | 1076.6846 | 1076.9323
| M1 | Yearly CO2 Emissions per CPU [kg] (I1*CO2) |  | 153.8938 | 153.8938 | 153.8938 | 153.8938 | 153.8938 | 153.8938 | 153.8938 | 153.8938
| N1 | Total Yearly CO2 Emissions[kg] (M1*A) |  | 1538.9378 | 1538.9378 | 1538.9378 | 1538.9378 | 1538.9378 | 1538.9378 | 1538.9378 | 1538.9378
| O1 | Yearly SO2 Emissions per CPU [kg] (I1*SO2 ) |  | 0.88956 | 0.88956 | 0.88956 | 0.88956 | 0.88956 | 0.88956 | 0.88956 | 0.88956
| P1 | Total Yearly SO2 Emissions[kg] (O1*A) |  | 8.8956 | 8.8956 | 8.8956 | 8.8956 | 8.8956 | 8.8956 | 8.8956 | 8.8956
| Q1 | Yearly NOX Emissions per CPU [kg] (I1*NOX) |  | 0.41048 | 0.41048 | 0.41048 | 0.41048 | 0.41048 | 0.41048 | 0.41048 | 0.41048
| R1 | Total Yearly NOX Emissions[kg] (Q1*A) |  | 4.1048 | 4.1048 | 4.1048 | 4.1048 | 4.1048 | 4.1048 | 4.1048 | 4.1048
Proposed | F2 | Power Supply Efficiency [%] |  | 86% | 86% | 86% | 86% | 86% | 86% | 86% | 86%
| G2 | Daily Power Usage per CPU [Wh] (D/F2) |  | 2325.5814 | 2325.5814 | 2325.5814 | 2325.5814 | 2325.5814 | 2325.5814 | 2325.5814 | 2325.5814
| H2 | Total Daily Power Usage [kWh] (G2*A/1000) |  | 23.2558 | 23.2558 | 23.2558 | 23.2558 | 23.2558 | 23.2558 | 23.2558 | 23.2558
| I2 | Yearly Power Usage per CPU [kWh] (G2*DAYS) |  | 558.1395 | 558.1395 | 558.1395 | 558.1395 | 558.1395 | 558.1395 | 558.1395 | 558.1395
| J2 | Total Yearly Power Usage [kWh] (H2*A) |  | 5581.3953 | 5581.3953 | 5581.3953 | 5581.3953 | 5581.3953 | 5581.3953 | 5581.3953 | 5581.3953
| K2 | Yearly Cost per CPU[$] (E2*I2) |  | 87.5163 | 87.5364 | 87.5565 | 87.5767 | 87.5968 | 87.617 | 87.6371 | 87.6573
| L2 | Total Yearly Cost [$] (E2*J2) |  | 875.1628 | 875.3641 | 875.5654 | 875.7668 | 875.9682 | 876.1697 | 876.3712 | 876.5728
| M2 | Yearly CO2 Emissions per CPU [kg] (I2*CO2) |  | 125.2624 | 125.2624 | 125.2624 | 125.2624 | 125.2624 | 125.2624 | 125.2624 | 125.2624
| N2 | Total Yearly CO2 Emissions[kg] (M2*A) |  | 1252.6238 | 1252.6238 | 1252.6238 | 1252.6238 | 1252.6238 | 1252.6238 | 1252.6238 | 1252.6238
| O2 | Yearly SO2 Emissions per CPU [kg] (I2*SO2) |  | 0.72406 | 0.72406 | 0.72406 | 0.72406 | 0.72406 | 0.72406 | 0.72406 | 0.72406
| P2 | Total Yearly SO2 Emissions[kg] (O2*A) |  | 7.2406 | 7.2406 | 7.2406 | 7.2406 | 7.2406 | 7.2406 | 7.2406 | 7.2406
| Q2 | Yearly NOX Emissions per CPU [kg] (I2*NOX) |  | 0.33411 | 0.33411 | 0.33411 | 0.33411 | 0.33411 | 0.33411 | 0.33411 | 0.33411
| R2 | Total Yearly NOx Emissions[kg] (Q2*A) |  | 3.3411 | 3.3411 | 3.3411 | 3.3411 | 3.3411 | 3.3411 | 3.3411 | 3.3411
|  |  | Yr0 | Yr1 | Yr2 | Yr3 | Yr4 | Yr5 | Yr6 | Yr7 | Yr8
Economic | S | Yearly Savings per CPU[$] (K1-K2) | 0 | 20.0037 | 20.0083 | 20.0129 | 20.0175 | 20.0221 | 20.0267 | 20.0313 | 20.0359
| T | Total Yearly Savings [$] (L1-L2) | 0 | 200.0372 | 200.0832 | 200.1292 | 200.1753 | 200.2213 | 200.2674 | 200.3134 | 200.3595
| U | Expenditures per CPU [$] (Cost*tax rate) | 86.3094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| V | Total Expenditures [$] (V*A) | 863.094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W | Cumulative Cash Flow per CPU [$] {(S-U)+Previous year} | -86.3094 | -66.3057 | -46.2974 | -26.2844 | -6.2669 | 13.7552 | 33.782 | 53.8133 | 73.8493
| X | Total Cumulative Cash Flow [$] {(T-V)+Previous year} | -863.094 | -663.0568 | -462.9736 | -262.8443 | -62.6691 | 137.5522 | 337.8196 | 538.133 | 738.4925
| Y | Cash Flow per CPU [$] (S-U) | -86.3094 | 20.0037 | 20.0083 | 20.0129 | 20.0175 | 20.0221 | 20.0267 | 20.0313 | 20.0359
| Z | Net Cash Flow [$] (T-V) | -863.094 | 200.0372 | 200.0832 | 200.1292 | 200.1753 | 200.2213 | 200.2674 | 200.3134 | 200.3595
|  | IRR | 16.23% | Note: IRR is calculated Internal Rate of Return
Environmental |  | Daily Energy Savings per CPU [Wh]( G1-G2) |  | 531.5615 | 531.5615 | 531.5615 | 531.5615 | 531.5615 | 531.5615 | 531.5615 | 531.5615
|  | Total Daily Energy Savings [kWh] (H1-H2) |  | 5.3156 | 5.3156 | 5.3156 | 5.3156 | 5.3156 | 5.3156 | 5.3156 | 5.3156
|  | Year Energy Savings per CPU [kWh] (I1-I2) |  | 127.5748 | 127.5748 | 127.5748 | 127.5748 | 127.5748 | 127.5748 | 127.5748 | 127.5748
|  | Total Yearly Energy Savings [kWh] (J1-J2) |  | 1275.7475 | 1275.7475 | 1275.7475 | 1275.7475 | 1275.7475 | 1275.7475 | 1275.7475 | 1275.7475
|  | Yearly CO2 Savings per CPU [kg] (M1-M2) |  | 28.6314 | 28.6314 | 28.6314 | 28.6314 | 28.6314 | 28.6314 | 28.6314 | 28.6314
|  | Total Yearly CO2 Savings [kg] (N1-N2) |  | 286.314 | 286.314 | 286.314 | 286.314 | 286.314 | 286.314 | 286.314 | 286.314
|  | Yearly SO2 Savings per CPU [kg] (O1-O2) |  | 0.1655 | 0.1655 | 0.1655 | 0.1655 | 0.1655 | 0.1655 | 0.1655 | 0.1655
|  | Total Yearly SO2 Savings [kg] (P1-P2) |  | 1.655 | 1.655 | 1.655 | 1.655 | 1.655 | 1.655 | 1.655 | 1.655
|  | Yearly NOx Savings per CPU [kg] (Q1-Q2) |  | 0.076369 | 0.076369 | 0.076369 | 0.076369 | 0.076369 | 0.076369 | 0.076369 | 0.076369
|  | Total Yearly NOx Savings [kg] (R1-R2) |  | 0.76369 | 0.76369 | 0.76369 | 0.76369 | 0.76369 | 0.76369 | 0.76369 | 0.76369
Note on C6: The Cost of electricity is based on the current cost plus an adjustment for inflation for future years
Note on C12: Yearly power usage is based on the assumed number of working days in a year
Note on C16: Emmissions calculations are based on Emissions produced per KW of energy as can be seen on the assumptions page

## Assumptions&References
Assumptions
Environmental
CO2 Production | 1.0201 | [kg/kWh] | Clean Energy. (2007, December 28). Retrieved November 12, 2009, from U.S. Environmental Protection Agency: http://www.epa.gov/cleanrgy/energy-and-you/affect/coal.html
SO2 Production | 0.0058967 | [kg/kWh]
NoX Production | 0.002721 | [kg/kWh]
Percentage of Power Produced By Fossil Fuels in Ontario | 22% |  | Power Generation. (2009). Retrieved November 11, 2009, from Ontario Power Generation: http://www.opg.com/power/
General
Working Days a Year | 240 | [days]
Cost of Electricity | 0.1568 | [$/kWh] | http://www.kingstonhydro.com/Commercial/Rates.aspx
Electrical Price Inflation | 2.3% | Based on rate increases from the past
Power Supplies
Name | Efficiency | Cost | Capacity | Quality
ANTEC: EA-650 | 84.51% | 97.96 | 650 | Standard | http://www.buildyourowncomputer.com/page/B/PROD/27561I
CoolMax: ZP-380B | 81.63% | 49.98 | 380 | Standard | http://www.mwave.com/mwave/SKUSearch_v3.asp?px=FO&scriteria=BA25034
CoolMax: ZP-480B | 84.25% | 49.99 | 480 | Standard | http://www.ewiz.com/detail.php?name=PS-ZP480B&src=FR&pid=3a51e7d6cac4ce451c06dc2e175e1b3d82655995b565d23a3d2b2c86ae5fb6e3
Corsair: CMPSU-400CX | 83.54% | 53.24 | 400 | Standard
Dynapower USA: TC-1U25P80 | 86% | 76.38 | 250 | Bronze | http://www.buy.com/retail/product.asp?sku=212637436&listingid=54498680
Dynapower USA: TC-1U30P80 | 85.29% | 79.38 | 300 | Standard | http://www.buy.com/retail/product.asp?sku=212637433&listingid=54498681
FSP Group: FSP220-60LE | 80.9% | 46.4 | 250 | Standard | http://www.provantage.com/fsp-group-fsp220-60le-80~7FSPG01V.htm
FSP Group: FSP300-60GLS | 84.29% | 45.99 | 300 | Standard
Sea Sonic: S12II-380B | 85.4% | 51.99 | 380 | Bronze
Sea Sonic: SS-300ET | 85.65% | 36.3 | 300 | Bronze | http://www.ewiz.com/detail.php?p=PS-SS300ET&c=fr&pid=3a51e7d6cac4ce451c06dc2e175e1b3d82655995b565d23a3d2b2c86ae5fb6e3
Sea Sonic: SS-350ES | 86.61% | 44.99 | 350 | Bronze
Sea Sonic: SS-350ET | 85.95% | 45.99 | 350 | Bronze
Sparkle Power: SPI2501UH | 83.68% | 79.99 | 250 | Standard | http://www.directron.com/spi2501uhb204.html?gsear=1
Sparkle Power: SPI250EP | 82.86% | 52.2 | 250 | Standard | http://www.datacenterhardware.com/products/power-supplies-atx-pc-power-supplies-c-80_90/250w-atx12v-80plus-sparkle-power-supply-r-spi250ep-spi-retail-p-238
Thermaltake:W0315RU TP | 86.56% | 249.99 | 850 | Bronze | http://www.amazon.com/Thermaltake-W0315RU-Toughpower-Spedo-Supply/dp/B002JM1RPE
Tax rate of 13% was assumed based on PST and GST for Ontario