## 1.Home
Welcome to Your ECM Calculator
Reducing phantom power consumption with 'smart strip' power bars
Last Modified by User: |  |  | 2026-07-28
For the most recent version of this ECM, and links to other useful analysis tools, please click here to go to http://www.appropedia.org/Category:ECM
This template last modified on: |  |  | 2011-06-14
This spreadsheet consists of six sheets, or tabs, including this Home sheet. The Intro sheet provides an overview of the ECM and an example. On the Input sheet, enter the best estimates for your business in the orange cells (and change default purple cells if required). A summary of your costs and benefits based on the values entered in the Input sheet are provided on the Executive Summary sheet. The detailed economic and environmental analyses behind the executive summary results appear on the Savings Projection sheet, which shows financial and environmental metrics. Assumptions underlying the calculations and explanations of the defaults (such as electricity costs and emissions) are found on the Assumptions & Sources sheet, and may need to be adjusted for your organization. The ECM calculator has been designed primarily for electronic use, but can be printed if necessary. Printing defaults have been setup such that all pages will fit on standard Letter or A4 paper and will rotate (landscape vs. portrait) automatically as necessary.
| Legend | Headings |  | green
|  | Input Cells |  | orange
|  | Default Values |  | purple
|  | Summary Charts |  | blue
Disclaimer:
This analysis is conducted based on carefully considered assumptions and calculations in anticipation of use by an audience with the widest possible selection of applications. As such, various assumptions may not be applicable to your particular organization, and you are encouraged to read them carefully. To use this tool effectively, detailed instructions are included on the Introduction tab.
In this ECM, we calculate straightforward financial and environmental benefits. Depending on the ECM, your organization may enjoy additional financial benefits not included here such as those from government rebates and incentives, and those arising from lower operating costs, such as reduced waste or water usage. This ECM may also relate to your organization’s corporate social responsibility initiatives. Again, depending on the ECM, this increased goodwill may result from donations of your used equipment to not-for-profit organizations, the reduction of toxic materials, and so on. We encourage you to consider these additional benefits when making the case for your proposed ECMs.
The information provided here is for informational purposes only. By no means is any information presented herein intended to substitute for the advice which may be provided to you by a professional. We make no warranties of any kind, express or implied, about the completeness, accuracy, or reliability of the data or calculations. For this reason, Queen's University and/or participants of the "Green IT" Project cannot be held responsible for any mistakes or deficiencies in the data or calculations.
Please click here to view the complete list of Assumptions.
Continue with your analysis by proceeding to the Instructions.

## 2.Introduction
ECM014 - Phantom Power Reduction |  |  | Please review disclaimer on the home tab |  |  |  | This template last modified on: |  | 2011-06-14
Introduction
Standby power or "phantom power" is defined as the power consumed by electric and electronic devices, such as computers and television sets, when they are plugged in but not performing their desired task, even if they are not turned on. This power consumption has been quantified as representing more than $3 billion in annual energy costs in the continental United States (S1). Much of this cost is avoidable in both residential and commercial applications through the use of "smart strip" power bars.
Smart strip power bars replace traditional power bars and have one control device that will switch power on/off to the other devices on the strip. For example, at a typical workstation you may have a computer (monitor and CPU), a phone charger, a desk lamp, a printer/scanner/copier, and perhaps some speakers. It is our recommendation that the computer's CPU (or whichever device is regarded as most critical) be the 'control' device, such that when you power down your computer at night and turn the CPU off (that is, pushing the power button to turn it off, but leaving it plugged in), all power going to the remaining devices is cut completely; the CPU will still draw its phantom power, but the remaining devices will draw no power. It is for this reason that all of the phantom power will not be eliminated, but a significant portion of it will be reduced.
How to use this spreadsheet
Before using this sheet, you are strongly encouraged to carefully examine all of the assumptions used in its construction. Using the best estimates for your organization, enter the number of devices and the number of hours of use (i.e. the number of hours per day the device is not in standby mode), as well as all information in the orange cells on the 'Inputs' sheet for each device you plan on using a smart power bar with. The difference between weekday and weekend use is important as it stems from the assumption that electricity prices differ at peak and off-peak times. The costs of electricity and emissions per kWh are determined for Kingston, Ontario (see the Assumptions & Sources sheet), and may need to be adjusted for your location. The economic and environmental analysis takes place on the 'Savings Projection' sheet, which shows financial metrics such as net present value (NPV), internal rate of return (IRR) and payback time. For best results, it is advised that you conduct one analysis for the entire portion of your business in which you may implement this change, rather than considering individual work stations, for example. Please consider the environment before printing, however all pages can be printed on standard A4 or Letter paper in full colour or black and white while preserving readability.
Example
The following example demonstrates the capacity of this ECM calculator. The values entered are fixed (i.e. this is a static example that cannot be changed), and is set up in the same was as the calculator that you will use for your organization. The list of devices shown is truncated for conciseness, showing only the devices that are actually used in the example's calculations.
The devices currently employed by your organization consume 49,745 kWh of electricity per year. This translates to an annual electricity cost of $3,277, which could be reduced to $164 per year if all of your power bars were replaced with smart strip power bars (an annual savings of $3,113). Taking this action would result in a one-time cost of $22,950, a reduction in annual CO2 emissions of 1,087 kg and a payback period of 2.9 years.
Inputs to Example Calculations
| Conventional Power Bar | Unit Price of Bar (Conventional power bar) | 30
|  | Number of Outlets Available | 7
|  | Number of Plugs Used per Bar | 3
| Smart Power Bar | Unit Price of Bar (Smart Strip power bar) | 40
|  | Number of Outlets Available | 7
|  | Number of Plugs Used per Bar | 3
|  | Estimate Reduction of Phantom Power | 95%
| Labour to Change Power Bars | Hourly wage of technician changing power bar | 30
|  | Time required to change one power bar (minutes) | 20
| Electric Utility information | On-peak Energy Price | 0.093 | /kWh
|  | Off-peak Energy Price | 0.044 | /kWh
|  | CO2 Emissions | 23 | g/kWh
|  | NOx Emissions | 0.000594 | g/kWh
|  | SO2 Emissions | 0.00132 | g/kWh
| Do your conventional power bars need to be replaced anyways, regardless of power consumption? (For example, is the warranty coming to a close for surge protection on your current power bars?) If so, enter "Yes", if not enter "No". |  |  | Yes
| Type | Condition | Number of Devices | Stand-by Consumption (W) | Hours of use per day (hr)
[5 empty] | Weekday | Weekend
| Desktop computer | Powered off, plugged in | 300 | 2.84 | 8 | 0
| Monitors (CRT) | Sleep mode, plugged in | 100 | 12.14 | 8 | 0
| Monitors (LCD) | Powered off, plugged in | 200 | 1.13 | 8 | 0
|  | Sleep mode, plugged in | 200 | 1.38 | 8 | 0
| Notebook computer | Powered on, fully charged, plugged in | 75 | 29.48 | 8 | 0
|  | Powered off, plugged in | 40 | 8.9 | 8 | 0
| Fax (inkjet) | Powered off, plugged in | 20 | 5.31 | 8 | 0
| Fax (laser) | Ready for job, plugged in | 20 | 6.42 | 8 | 0
|  | Powered off, plugged in | 10 | 0 | 8 | 0
| Phone (cordless) | Dock powered on, charging handset | 30 | 2.81 | 8 | 0
| Phone charger | Power supply only plugged in, phone on battery | 300 | 0.26 | 8 | 0
Projected savings over 5 years for example:
|  | Cash Savings: | 3113 |  |  | Net Present Value |  | 5588
|  | Annual electricity saved: | 47258 | kWh |  | IRR |  | 21%
|  | CO2 emission reductions: | 1086.9371 | kg/a |  | Payback time (yrs) |  | 2.9
|  |  | Baseline | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  | Annual net cash flow | -9180 | 3113 | 3113 | 3113 | 3113 | 3113
|  | Cumulative net cash flow | -9180 | -6067 | -2954 | 159 | 3272 | 6385
|  | Total Carbon Saved per Year (kg/a) | 1086.9 | 1086.9 | 1086.9 | 1086.9 | 1086.9 | 1086.9

## 3.Inputs
ECM014 - Phantom Power Reduction |  | Please review disclaimer on the home tab |  | This template last modified on: |  | 2011-06-14
Inputs
Please enter the number of devices and the number of hours of use (i.e. the number of hours per day that the device is not in standby mode), as well as any other information requested for orange cells (for each device for which you plan on using a smart bar). Change default purple cells when required. The difference between weekday and weekend use is important as it stems from the assumption that electricity prices differ at peak and off-peak times. For best results, it is advised that you conduct one analysis for the entire portion of your business for which you may implement this initiative (rather than considering individual work stations, for example).
Assumptions & Sources | Legend | Input Cells
Default Values
Enter information about the power bars you currently employ, and the smart strips you intend to replace them with also accounting for the labour costs involved in changing all of these current power bars. Energy prices and grid emissions are specifically for the province of Ontario, Canada, so if your organization operates in a different location this will need to be updated.
| Conventional Power Bar (Values for currently-used technologies) | Unit Price of Bar (Conventional power bar) | 30
|  | Number of Outlets Available | 7
|  | Number of Plugs Used per Bar | 3
| Smart Power Bar (Please use your best estimate of values) | Unit Price of Bar (Smart Strip power bar) | 40
|  | Number of Outlets Available | 7
|  | Number of Plugs Used per Bar | 3
A12 |  | Estimate Reduction of Phantom Power | 95%
| Labour to Change Power Bars | Hourly wage of technician changing power bar | 30
|  | Time required to change one power bar (minutes) | 20
S5 | Electric Utility information (Initial values for Kingston, Ontario) | On-peak Energy Price | 0.093 | /kWh
S5 |  | Off-peak Energy Price | 0.044 | /kWh
S6 |  | CO2 Emissions | 23 | g/kWh
S7,S8 |  | NOx Emissions | 0.000594 | g/kWh
S7,S8 |  | SO2 Emissions | 0.00132 | g/kWh
A10 | Do your conventional power bars need to be replaced anyways, regardless of power consumption? (For example, is the warranty coming to a close for surge protection on your current power bars?) If so, enter "Yes", if not enter "No". |  | Yes
For each device listed below, enter the number of devices your company currently employs (if none, enter "0" under "Number of devices"). If you are capable of doing so, measure the power each device consumes in its listed 'power state' under "Stand-by Consumption", otherwise you can leave the default values which are provided as an average over a range of common devices. Enter the number of hours of use each device will see on a typical day during the work week (Monday through Friday, inclusive) or weekend (Saturday and Sunday); this most likely will correspond to the number of hours your organization is open for business. From this, the number of standby hours will be computed and multiplied by the stand-by power consumption of each device to determine the total phantom power consumption for your organization. If your organization uses a device that you do not see listed in this chart, there is space at the bottom where you may add more devices as necessary.
| Type | Condition | Number of devices | Stand-by Consumption (W) | Hours of Use per day (hr)
[5 empty] | Weekday | Weekend
S1 | Desktop Computer | Powered off, plugged in | 300 | 2.84 | 8 | 0
S2 | Monitors (CRT) | Powered off, plugged in | 0 | 0.8 | 8 | 0
S3 |  | Sleep mode, plugged in | 100 | 12.14 | 8 | 0
S4 | Monitors (LCD) | Powered off, plugged in | 200 | 1.13 | 8 | 0
S5 |  | Sleep mode, plugged in | 200 | 1.38 | 8 | 0
S6 | Notebook Computer | Powered on, fully changed, plugged in | 75 | 29.48 | 8 | 0
S7 |  | Powered off, plugged in | 40 | 8.9 | 8 | 0
S8 |  | Power supply only plugged in, computer on battery | 0 | 4.42 | 8 | 0
S9 |  | Sleep mode, plugged in | 0 | 15.77 | 8 | 0
S10 | Fax (inkjet) | Powered off, plugged in | 20 | 5.31 | 8 | 0
S11 | Fax (laser) | Ready for job, plugged in | 20 | 6.42 | 8 | 0
S12 |  | Powered off, plugged in | 10 | 0 | 8 | 0
S13 | Printer (inkjet) | Powered off, plugged in | 0 | 1.26 | 8 | 0
S14 | Printer (laser) | Powered off, plugged in | 40 | 1.58 | 8 | 0
S15 | Scanner (flatbed) | Powered off, plugged in | 40 | 2.48 | 8 | 0
S16 | Multi-function device (inkjet) | Powered off, plugged in | 0 | 5.26 | 8 | 0
S17 | Multi-function device (laser) | Powered off, plugged in | 0 | 3.12 | 8 | 0
S18 | Phone (cordless) | Dock powered on, changing handset | 30 | 2.81 | 8 | 0
S19 |  | Dock powered on, not changing handset | 0 | 1.58 | 8 | 0
S20 |  | Dock plugged in, powered off | 0 | 0.98 | 8 | 0
S21 | Phone (cordless with answering machine) | Powered on, ready for call (not in use) | 0 | 4 | 8 | 0
S22 |  | Powered off, plugged in | 0 | 2.92 | 8 | 0
S23 | Telephone answering device | Powered off, plugged in | 0 | 2.01 | 8 | 0
S24 |  | Powered on, ready for call (not in use) | 0 | 2.25 | 8 | 0
S25 | Phone charger | Powered supply only plugged in, phone on battery | 300 | 0.26 | 8 | 0
S26 |  | Powered on, fully charged, plugged in | 0 | 2.24 | 8 | 0
S27 | Caller ID unit | Powered on, ready for call (not in use) | 0 | 1.27 | 8 | 0
S28 | USB hub | Powered off, plugged in | 0 | 1.44 | 8 | 0
S29 | Surge protector | Powered off, plugged in | 0 | 1.05 | 8 | 0
S30 | TV (CRT) | Powered off by remote control | 0 | 3.06 | 8 | 0
S31 |  | Powered off by switch on TV | 0 | 2.88 | 8 | 0
S32 | TV (rear projection) | Powered off by remote control | 0 | 6.97 | 8 | 0
S33 |  | Powered off by switch on TV | 0 | 6.6 | 8 | 0
S34 | TV/VCR | Powered off by remote control | 0 | 5.15 | 8 | 0
S35 |  | Powered off by switch on TV | 0 | 5.99 | 8 | 0
S36 | DVD player | Powered off, plugged in | 0 | 1.55 | 8 | 0
S37 | VCR/DVD player | Powered off, plugged in | 0 | 5.04 | 8 | 0
S38 | VCR | Powered off, plugged in | 0 | 4.6807 | 8 | 0
S39 | Stereo (portable) | Powered off, plugged in | 0 | 1.66 | 8 | 0
S40 | CD player | Powered off, plugged in | 0 | 5.04 | 8 | 0
S41 |  |  | 0 | 0 | 8 | 0
S42 |  |  | 0 | 0 | 8 | 0
S43 |  |  | 0 | 0 | 8 | 0
S44 |  |  | 0 | 0 | 8 | 0
S45 |  |  | 0 | 0 | 8 | 0
S46 |  |  | 0 | 0 | 8 | 0
S47 |  |  | 0 | 0 | 8 | 0

## 4.Executive Summary
ECM014 - Phantom Power Reduction |  | Please review disclaimer on the home tab |  |  |  | This template last modified on: |  | 2011-06-14
Executive Summary
Standby power or "phantom power" is defined as the power consumed by electric and electronic devices, such as computers and television sets, when they are plugged in but not performing their desired task, even if they are not turned on. This power consumption has been quantified as representing more than $3 billion in annual energy costs in the continental United States (S1). Much of this cost is avoidable in both residential and commercial applications through the use of "smart strip" power bars.
Savings for Your Organization
The devices currently employed by your organization consume 49,745 kWh of standby electricity per year. This translates to an annual electricity cost of $3,277, which could be reduced to $164 per year if all of your power bars were replaced with smart strip power bars (an annual savings of $3,113). Taking this action would result in a one-time cost of $22,950, a reduction in annual CO2 emission of 1,087 kg and payback period of 2.9 years. To confirm the number and type of devices accounted for in this analysis, please check the 'Inputs' tab.
Projected Savings over 5 years:
| Cash Savings: | 3113.1296 |  |  | Net Present Value |  | 5587.9101
| Annual electricity saved: | 47258.1346 | kWh |  | IRR |  | 20.64%
| CO2 emission reductions: | 1086.9371 | kg/a |  | Payback time (yrs) |  | 2.9488
|  | Baseline | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| Annual net cash flow | -9180 | 3113.1296 | 3113.1296 | 3113.1296 | 3113.1296 | 3113.1296
| Cumulative net cash flow | -9180 | -6066.8704 | -2953.7408 | 159.3888 | 3272.5185 | 6385.6481
| Total Carbon Saved per Year (kg/a) | 1086.9371 | 1086.9371 | 1086.9371 | 1086.9371 | 1086.9371 | 1086.9371

## 5.Savings Projection
ECM014 - Phantom Power Reduction |  |  | Please review disclaimer on the home tab | [5 empty] | This template last modified on: |  | 2011-06-14
Standby Calculations
| Type |  | Condition | Hours of Standby per Day |  | Standby Hours per Week |  | Total Phantom Power Used per year (kWh) | Cost of Phantom Consumption |  | Total Cost per Year
|  |  |  | Weekday | Weekend | On-peak | Off-peak |  | On-peak | Off-peak
S1 | Desktop Computer |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 7443.072 | 5.9427 | 3.4864 | 490.3124
S1 | Monitors (CRT) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 |  |  | Sleep mode, plugged in | 16 | 24 | 75 | 93 | 10605.504 | 8.4677 | 4.9677 | 698.6376
S1 | Monitors (LCD) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 1974.336 | 1.5763 | 0.92479 | 130.0594
S1 |  |  | Sleep mode, plugged in | 16 | 24 | 75 | 93 | 2411.136 | 1.9251 | 1.1294 | 158.8336
S1 | Notebook Computer |  | Powered on, fully changed, plugged in | 16 | 24 | 75 | 93 | 19315.296 | 15.4217 | 9.0474 | 1272.3951
S1 |  |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 3110.016 | 2.4831 | 1.4568 | 204.8723
S1 |  |  | Power supply only plugged in, computer on battery | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 |  |  | Sleep mode, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Fax (inkjet) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 927.7632 | 0.74074 | 0.43457 | 61.1164
S1 | Fax (laser) |  | Ready for job, plugged in | 16 | 24 | 75 | 93 | 1121.7024 | 0.89559 | 0.52541 | 73.8921
S1 |  |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Printer (inkjet) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Printer (laser) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 552.1152 | 0.44082 | 0.25861 | 36.3706
S1 | Scanner (flatbed) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 866.6112 | 0.69192 | 0.40593 | 57.088
S1 | Multi-function device (inkjet) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Multi-function device (laser) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Phone (cordless) |  | Dock powered on, changing handset | 16 | 24 | 75 | 93 | 736.4448 | 0.58799 | 0.34496 | 48.5133
S1 |  |  | Dock powered on, not changing handset | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 |  |  | Dock plugged in, powered off | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Phone (cordless with answering machine) |  | Powered on, ready for call (not in use) | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 |  |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Telephone answering device |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 |  |  | Powered on, ready for call (not in use) | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Phone charger |  | Powered supply only plugged in, phone on battery | 16 | 24 | 75 | 93 | 681.408 | 0.54405 | 0.31918 | 44.8878
S1 |  |  | Powered on, fully charged, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Caller ID unit |  | Powered on, ready for call (not in use) | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | USB hub |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Surge protector |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1, A11 | TV (CRT) |  | Powered off by remote control | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 |  |  | Powered off by switch on TV | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | TV (rear projection) |  | Powered off by remote control | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 |  |  | Powered off by switch on TV | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | TV/VCR |  | Powered off by remote control | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 |  |  | Powered off by switch on TV | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | DVD player |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | VCR/DVD player |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | VCR |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | Stereo (portable) |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
S1 | CD player |  | Powered off, plugged in | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
|  |  |  | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
|  |  |  | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
|  |  |  | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
|  |  |  | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
|  |  |  | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
|  |  |  | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
|  |  |  | 16 | 24 | 75 | 93 | 0 | 0 | 0 | 0
Assumptions & Sources |  | Savings Projections
Conventional Power Bar |  | Annual Costs |  | Base | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  | Total annual cost of phantom power consumed ($/a) | Cty = sum(all devices) |  | 3276.9785 | 3276.9785 | 3276.9785 | 3276.9785 | 3276.9785
Hardware Costs
|  | Total number of devices | Nd | 1375
|  | Number of plugs available per power bar | Np | 7
|  | Fraction of plugs used per power bar | PBu | 0.42857
| S2 | Cost per conventional power bar ($) | PBc | 30
|  | Number of power bars required | PBr = Nd / Pbu | 459
|  | Total cost of power bars | PBct = PBr * PBc | 13770
|  | Grand total: | GT = PBct + Cty | 13770 | 3276.9785 | 3276.9785 | 3276.9785 | 3276.9785 | 3276.9785
Energy saving power bar |  | Energy Savings |  | Base | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| A12 | Percent reduction in phantom power | Ppr |  | 95% | 95% | 95% | 95% | 95%
|  | Annual phantom power cost, before smart power bars ($/a) | Cty' = Cpw'*52 |  | 3276.9785 | 3276.9785 | 3276.9785 | 3276.9785 | 3276.9785
|  | Annual phantom power cost, after smart power bars ($/a) |  |  | 163.8489 | 163.8489 | 163.8489 | 163.8489 | 163.8489
Hardware Costs
|  | Total number of devices | Nd' | 1375
|  | Number of plugs per power bar | Np' | 7
|  | Fraction of plugs used per bar | Pbu' | 0.42857
| S3 | Cost per smart power bar ($) | PBc' | 40
|  | Number of power bars required | PBr' = Nd' / Pbu' | 459
|  | Total cost of power bars | PBct' = PBr * PBc | 18360
Labour Costs
|  | Time required to change power bar (hrs) | L | 0.33333
|  | Total time required to change all power bars (hrs) | Lt | 153
|  | Hourly wage of employee changing power bars | Lc = Lt * L | 30
|  | Total labour cost to change power bars (hrs) | Lct | 4590
|  | Grand Total: | GT' = PBct' + Cty' + Lct | 22950 | 163.8489 | 163.8489 | 163.8489 | 163.8489 | 163.8489
Cash Flow |  | Financial Analysis |  | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  | Cash outflow (investment) | CO | 9180 | 0 | 0 | 0 | 0 | 0
|  | Cash inflow (savings) | CS | 0 | 3113.1296 | 3113.1296 | 3113.1296 | 3113.1296 | 3113.1296
|  | Annual net cash flow | ANFC = CO - CS | -9180 | 3113.1296 | 3113.1296 | 3113.1296 | 3113.1296 | 3113.1296
|  | Cumulative net cash flow | CNCF = ΣANFC | -9180 | -6066.8704 | -2953.7408 | 159.3888 | 3272.5185 | 6385.6481
| A13, A14 | Risk-free rate of return | RFR | 0% | 1.3% | 1.69% | 2.07% | 2.35% | 2.62%
|  | Discounted annual net cash flow | ANFC/(1+RFR) | -9180 | 3073.1783 | 3022.1047 | 2960.8158 | 2892.8342 | 2818.977
|  | Cumulative discounted annual net cash flow | CDNCF = ΣADNFC | -9180 | -6106.8217 | -3084.717 | -123.9011 | 2768.9331 | 5587.9101
|  |  | Net Present Value | Year 0: 5587.9101
|  |  | IRR | Year 0: 20.64%
| A15 |  | Payback time (years) | Year 0: 2.9488
|  | Net cash flow discounted by IRR |  | -9180 | 2580.4519 | 2138.919 | 1772.9353 | 1469.574 | 1218.1198
| A17 | Cumulative net cash flow discounted by IRR |  | -9180 | -6599.5481 | -4460.6292 | -2687.6938 | -1218.1198 | 0
Environmental Effects | A16 | Environmental Analysis |  | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  | Electricity Saving per Year (kWh) | ES = N*Ppr | 47258.1346 | 47258.1346 | 47258.1346 | 47258.1346 | 47258.1346 | 47258.1346
|  | Grams of CO2 per KWh (g/kWh) | CO2u | 23 | 23 | 23 | 23 | 23 | 23
|  | Total Carbon Saved per Year (kg/a) | CS = ES * CO2u /1000 | 1086.9371 | 1086.9371 | 1086.9371 | 1086.9371 | 1086.9371 | 1086.9371
|  | Grams of NOx per kWh (g/kWh) | NOXu | 0.000594 | 0.000594 | 0.000594 | 0.000594 | 0.000594 | 0.000594
|  | Total NOx Saved per Year (kg/a) | NOXs = ES * NOXu/1000 | 28.0713 | 28.0713 | 28.0713 | 28.0713 | 28.0713 | 28.0713
|  | Grams of SO2 per kWh (g/kWh) | SO2u | 0.00132 | 0.00132 | 0.00132 | 0.00132 | 0.00132 | 0.00132
|  | Total SO2 Saved per Year (kg/a) | SO2s = ES * SO2u/1000 | 62.3807 | 62.3807 | 62.3807 | 62.3807 | 62.3807 | 62.3807

## 6.Assumptions & Sources
ECM014 - Phantom Power Reduction |  | Please review disclaimer on the home tab |  |  | This template last modified on: |  | 2011-06-14
Assumptions
Assumptions in italics are general assumptions not explicitly outlined in the preceding document and calculations, but were involved in getting the results reported. All assumptions outlined here were used in the analysis. To modify sheet information, use the password "greenit" to unprotect the sheet and exercise caution as you do so.
A1 | Heavy users of electricity, such as refrigerators or air conditioners, should not be plugged into power bar.
A2 | The differences between seemingly similar devices can be substantial. Do not discount a device on intuition, as actual electricity usage can be surprising (example: cell phone chargers and cordless phones).
A3 | Devices that are left running such as clock radios or property signage, may be always required to be on and fully powered, and thus should not be included in these calculations
A4 | Sophisticated devices that require power to maintain important settings, such as some routers or modems, should be left on all the time to avoid loss of connection settings. As such, they do not generate phantom load
A5 | Only devices that were previously plugged into power bars are plugged into new power bars. No additional devices or behavioural changes were taken into account.
A6 | The focus was on commercial buildings, so only items found in commercial/business settings are included by default. Devices can be added as desired by the user toward the bottom of the inputs page.
A7 | Default values are average power consumption for a given class of devices (i.e. "TV (CRT)"), taken from S1. Your particular devices may vary from this average, so you are recommended to measure the consumption of your particular devices if possible.
A8 | The timing of replacing power bars is a significant factor in this analysis. See A10 for more information.
A9 | Electricity prices are assumed to vary based on timing of usage; denoted by off-peak and on-peak. Off peak prices were considered first, meaning that if a given device had 16 hours of standby time, the price would account for 9 off peak hours (the maximum daily amount; considered to be overnight when the business is most likely closed) and 7 peak hours (the remainder of the standby hours, during the daytime when the business is most likely open).
A10 | This question is asked to determine the motives behind the switch to 'smart strip' power bars which reduce phantom power consumption. If power bars need to be replaced anyways (for example, the end of their warranty for surge protection for critical devices such as a computer is reached), the cost of smart bars used in the calculation is simply the difference between the smart bar and a conventional bar, as money will be spent to purchase the conventional bars regardless (option "Yes"). If bars do not need to be replaced for any other reason other than to reduce phantom power consumption, then the full price of the smart bar is used in calculation (option "No").
A11 | Note that the particular 'power state' of the device is important in determining energy consumption (i.e. compare 'on', 'off' and 'standby' power consumption). Similarly, the mode by which the device was moved to that power state may affect its power consumption (i.e. using the remote to turn off the TV, rather than pushing the button in the device itself).
A12 | The estimated savings in phantom power consumption depends on which device serves as the 'control' device as plugged into the smart strip. A reasonable estimate of phantom power reduction is 95%. For the most accurate results, check with the manufacturer of the particular smart power bar you intend to purchase, and the relative usage of each device plugged into the smart strip.
A13 | The risk free rate of return for every year is either taken directly from Bank of Canada's webpage or calculated with the data from Bank of Canada's webpage under the assumption of "no arbitrage" opportunities occur. http://www.bank-banque-canada.ca/en/rates/tbill-look.html
A14 | The risk free rates are based on the 1-year Canadian Treasury bill rate (http://www.bank-banque-canada.ca/en/rates/tbill.html) and the 2, 3 and 5 year Treasury bond rates (http://www.bank-banque-canada)
|  | 1-year | 2-year | 3-year | 4-year | 5-year
|  | 1.3% | 1.69% | 2.07% | 2.35% | 2.62%
These values were last updated May 28,2010. The 4-year rate is a linear interpolation between the posted 3- and 5-year Treasury bond rates.
A15 | Payback is assumed to be linear, and the payback period is determined as such.
A16 | Geographic location initially set to Kingston, Ontario, Canada. If your organization is located in a different region your electricity costs and emissions per unit of energy will be different. Please consult sources S5 and S6 and adjust your values accordingly.
A17 | This calculation of cash flows discounted by IRR is a numerical check to ensure calculations are correct. The cumulative cash flow in year 5, as discounted by the IRR, should be $0. If this is not the case, please re-check your calculations, or download an updated version of this spreadsheet from the website linked on the Home tab, and copy your organization's particular measurements to the new file.
Sources
Code | Source name |  | Website |  |  |  | Date Accessed
S1 | Lawrence Berkley National Laboratory (see A7) |  | http://standby.lbl.gov/summary-table.html http://standby.lbl.gov/pdf/42108.html |  |  |  | 2010-02-06
S2 | Best Buy Canada |  | http://www.bestbuy.ca/en-CA/product/dynex-5-8-outlet-home-theatre-surge-protector-5-dx-avs8bk/10124438.aspx?path=07dd28c438827d99885f20a90f11aa8fen02 |  |  |  | 2010-02-06
S3 | Smart Strip Power Strip |  | http://catalog.bitsltd.us/ |  |  |  | 2010-02-06
S4 | Ontario Minimum Wage |  | http://www.labour.gov.on.ca/info/minimumwage/ |  |  |  | 2010-02-06
S5 | Ontario Electricity Price (OEB) January 4, 2010 |  | http://www.oeb.gov.on.ca/OEB/Consumers/Electricity/Electricity+Prices#rpp |  |  |  | 2010-02-06
S6 | Ontario Electricity Price (IESO) |  | http://www.ieso.ca/imoweb/siteShared/regulated_prices.asp?sid=ic |  |  |  | 2010-02-06
S7 | USEPA, Emissions in kg/kHz |  | http://www.epa.gov/cleanrgy/energy-and-you/affect/coal.html |  |  |  | 2010-02-18
S8 | OPG, Percentage of power produced by fossil fuels |  | http://www.opg.com/power/ |  |  |  | 2010-02-18