## Recommendation
Recommendation
I recommend that the City of Arcata use their $10,000 budget to purchase LED light bulbs. The LED bulbs we reserched cost a resonable amount of money when compared to the other lighting and power options. They use minimal power, have a long lifespan, and will save the city a good portion of money a year and a large sum of money over the lifespan of the bulbs.

## Data Analysis
Aidan Wilson
ENGR 115
8:00 AM Friday 11/22/2019
Claire Bareilles, Charlie McCory, Garrett Mitchell
Goal: Invest $10,000 to reduce energy costs.
| Assumptions: | [6 empty] | Input Parameters
| Energy Cost California: |  |  |  |  | 0.15 |  | Money to Use for each Project: | 10000
| Hours a Day [6am-9am & 5pm-11pm] (Bulb Power): |  |  |  |  | 9 |  | PV System Cost [$/m^2] | 1124
| Incandesent Bulb Cost: |  |  |  |  | 1.38 |  | PV System Efficency: | 0.215
| Incandesent Bulb Lifetime [h]: |  |  | 10000 | Years: | 3.0441 |  | PV System Lifetime [h] | 175200 | Years: | 20
| LED Bulb Cost: |  |  | 1.79 |  |  |  | PV System Running [h/d]: | 12
| LED Bulb Lifetime [h]: |  |  | 25000 | Years: | 7.6104 |  | PV System Running [d/yr]: | 365
| CFL Bulb Cost: |  |  | 1.95 |  |  |  | Days a Year Usage (Bulb Power): | 365
| CFL Bulb Lifetime [h]: |  |  | 10000 | Years: | 3.0441 |  | Hour/Year: | 3285
[8 empty] | Conversion for Pyranomenter [W/ Mv*m^2]: | 3.93
[8 empty] | Conversion from Wh to kWh [kWh] | 1000
Solar Measurements PV
Measurement Condition |  |  | Pyranomenter Reading [Mv] |  |  | Solar Radiation [W/m^2]
Flat Shade |  |  | 9 |  |  | 35.37
East Facing |  |  | 144 |  |  | 565.92
West Facing |  |  | 19 |  |  | 74.67
South Facing |  |  | 95 |  |  | 373.35
North Facing |  |  | 61 |  |  | 239.73
| Average: |  | 65.6 |  |  | 257.808
Bulb Power
Bulb Type |  | Rated Power [W] |  | Measured Power [W] |  |  | Power Saved [W]
Incandescent |  | 57 |  | 60
LED |  | 6 |  | 7.1 |  |  | 52.9
CFL |  | 15 |  | 15.3 |  |  | 44.7
Caculations
PV: Dollars Saved Per Year: |  |  | 1506.9382
LED: Dollars Saved Per Year: |  |  | 145622.7654
CFL: Dollars Saved Per Year: |  |  | 112953.4615
PV: Dollars Over Lifetime: |  |  | 30138.7644
LED: Dollars Over Lifetime: |  |  | 1108240.2235
CFL: Dollars Over Lifetime: |  |  | 343846.1538