## Recommendation
Garrett Mitchell
ENGR 115 - Fri. 8AM lab
2019-12-06
Based on the collected and calculated data, the most financially-responsible and cost-effective option is to invest the $10,000 budget into replacing old inefficient bulbs with LED bulbs. This solution proved to save 97 times more than a similarly-budgeted solar installation and outcompete other energy efficient bulbs, such as CFL bulbs, in cost-per-unit and power savings compared to incandescent bulbs.

## Data Analysis
Solar measurements
Measurement condition (direction) | Pyranometer voltage (mV) | Corrected solar radiation intensity (W/m^2)
North | 61 | 239.73
South | 95 | 373.35
East | 144 | 565.92
West | 19 | 74.67
Upwards | 9 | 35.37
Average pyranometer voltage (mV) | 65.6
Average solar radiation intensity (W/m^2) | 257.808
Note: This data was recorded at 9am on a clear morning in November.
Lightbulb measurements
Bulb type | Rated power (W) | Measured power (W)
Incandescent | 57 | 60
CFL | 15 | 14.3
LED | 6 | 7.1
Input parameters
Total budget | 10000
Cost per m^2 of solar panels | 1124
Cost per CFL bulb | 1.95
Cost per LED bulb | 1.79
Solar panel efficiency | 21.5%
Average sun hours per day (hrs) | 12
Average light bulb usage per day (hrs) | 9
Lifetime of solar panels (yrs) | 20
Lifetime of CFL bulb ((9hrs/day)*(365days/yr)) | 3.04
Lifetime of LED bulb ((9hrs/day)*(365days/yr)) | 7.61
Cost of power (California) ($/kWh) | 0.15
LED power saved (Incandescent power - LED power) (W) | 52.9
CFL power saved (Incandescent power - CFL power) (W) | 45.7
Days per year | 365
Pyranometer correction factor (W/mV*m^2) | 3.93
Calculated savings
Timespan | Solar | Incandescent replacement (CFL) | Incandescent replacement (LED)
Per year | 1506.9382 | 115480.3846 | 145622.7654
Lifetime | 30138.7644 | 351060.3692 | 1108189.2444