## Raw Data
Plot Title: CO2 Test
# | Date Time, GMT-07:00 | CO2, ppm (LGR S/N: 940890, SEN S/N: 940890, LBL: external) | Host Connected (LGR S/N: 940890) | Stopped (LGR S/N: 940890) | End Of File (LGR S/N: 940890)
1 | 2019-10-25 08:01 | 214.3
2 | 2019-10-25 08:02 | 228.3
3 | 2019-10-25 08:03 | 195.4
4 | 2019-10-25 08:04 | 192.9
5 | 2019-10-25 08:05 | 193.5
6 | 2019-10-25 08:06 | 191.1
7 | 2019-10-25 08:07 | 192.3
8 | 2019-10-25 08:08 | 191.1
9 | 2019-10-25 08:09 | 193.5
10 | 2019-10-25 08:10 | 192.9
11 | 2019-10-25 08:11 | 192.9
12 | 2019-10-25 08:12 | 191.7
13 | 2019-10-25 08:13 | 191.7
14 | 2019-10-25 08:14 | 192.3
15 | 2019-10-25 08:15 | 192.3
16 | 2019-10-25 08:16 | 191.7
17 | 2019-10-25 08:17 | 192.9
18 | 2019-10-25 08:18 | 191.1
19 | 2019-10-25 08:19 | 191.7
20 | 2019-10-25 08:20 | 192.9
21 | 2019-10-25 08:21 | 192.3
22 | 2019-10-25 08:22 | 191.7
23 | 2019-10-25 08:23 | 192.3
24 | 2019-10-25 08:24 | 191.7
25 | 2019-10-25 08:25 | 192.3
26 | 2019-10-25 08:26 | 196
27 | 2019-10-25 08:27 | 192.9
28 | 2019-10-25 08:28 | 191.7
29 | 2019-10-25 08:29 | 192.3
30 | 2019-10-25 08:30 | 191.1
31 | 2019-10-25 08:31 | 191.1
32 | 2019-10-25 08:32 | 190.5
33 | 2019-10-25 08:33 | 191.7
34 | 2019-10-25 08:34 | 190.5
35 | 2019-10-25 08:35 | 333.9
36 | 2019-10-25 08:36 | 573.3
37 | 2019-10-25 08:37 | 492.7
38 | 2019-10-25 08:38 | 484.7
39 | 2019-10-25 08:39 | 332.1
40 | 2019-10-25 08:40 | 196
41 | 2019-10-25 08:41 | 1238.7
42 | 2019-10-25 08:42 | 184.4
43 | 2019-10-25 08:43 | 495.7
44 | 2019-10-25 08:44 | 510.4
45 | 2019-10-25 08:45 | 517.7
46 | 2019-10-25 08:46 | 508.5
47 | 2019-10-25 08:47 | 517.7
48 | 2019-10-25 08:48 | 532.4
49 | 2019-10-25 08:49 | 540.9
50 | 2019-10-25 08:50 | 533
51 | 2019-10-25 08:51 | 529.9
52 | 2019-10-25 08:52 | 540.3
53 | 2019-10-25 08:53 | 542.1
54 | 2019-10-25 08:54 | 559.8
55 | 2019-10-25 08:55 | 573.9
56 | 2019-10-25 08:56 | 591
57 | 2019-10-25 08:57 | 605.6
58 | 2019-10-25 08:58 | 619.7
59 | 2019-10-25 08:59 | 619.7
60 | 2019-10-25 09:00 | 639.2
61 | 2019-10-25 09:01 | 641
62 | 2019-10-25 09:02 | 652.6
63 | 2019-10-25 09:03 | 656.9
64 | 2019-10-25 09:04 | 666.7
65 | 2019-10-25 09:05 | 687.4
66 | 2019-10-25 09:06 | 690.5
67 | 2019-10-25 09:07 | 688.6
68 | 2019-10-25 09:08 | 689.3
69 | 2019-10-25 09:09 | 693.5
70 | 2019-10-25 09:10 | 699
71 | 2019-10-25 09:11 | 699
72 | 2019-10-25 09:12 | 700.9
73 | 2019-10-25 09:13 | 728.9
74 | 2019-10-25 09:14 | 729.5
75 | 2019-10-25 09:15 | 737.5
76 | 2019-10-25 09:16 | 748.5
77 | 2019-10-25 09:17 | 754
78 | 2019-10-25 09:18 | 763.7
79 | 2019-10-25 09:19 | 765
80 | 2019-10-25 09:20 | 754
81 | 2019-10-25 09:21 | 777.2
82 | 2019-10-25 09:22 | 772.3
83 | 2019-10-25 09:23 | 792.4
84 | 2019-10-25 09:24 | 804
85 | 2019-10-25 09:25 | 815
86 | 2019-10-25 09:26 | 812.6
87 | 2019-10-25 09:27 | 810.7
88 | 2019-10-25 09:28 | 801.6
89 | 2019-10-25 09:29 | 805.3
90 | 2019-10-25 09:30 | 803.4
91 | 2019-10-25 09:31 | 794.3
92 | 2019-10-25 09:32 | 803.4
93 | 2019-10-25 09:33 | 803.4
94 | 2019-10-25 09:34 | 807.1
95 | 2019-10-25 09:35 | 804
96 | 2019-10-25 09:36 | 801.6
97 | 2019-10-25 09:37 | 768
98 | 2019-10-25 09:38 | 745.4
99 | 2019-10-25 09:39 | 719.8
100 | 2019-10-25 09:40 | 673.4
101 | 2019-10-25 09:41 | 649
102 | 2019-10-25 09:42 | 622.1
103 | 2019-10-25 09:43 | 586.7
104 | 2019-10-25 09:44 | 567.8
105 | 2019-10-25 09:45 | 532.4
106 | 2019-10-25 09:46 | 525.6
107 | 2019-10-25 09:47 | 501.2
108 | 2019-10-25 09:48 | 490.2
109 | 2019-10-25 09:49 | 481.7
110 | 2019-10-25 09:50 | 479.2
111 | 2019-10-25 09:51 | 473.7
112 | 2019-10-25 09:52 | 477.4
113 | 2019-10-25 09:53 | 446.9
114 | 2019-10-25 09:54 | 556.8
115 | 2019-10-25 09:55 | 406
116 | 2019-10-25 09:56 | 368.1
117 | 2019-10-25 09:57 | 476.8
118 | 2019-10-25 09:58 | 382.2
119 | 2019-10-25 09:59 | 442 | Logged
120 | 2019-10-25 10:00 | 489.6
121 | 2019-10-25 10:01 | 219.8
122 | 2019-10-25 10:01 |  |  | Logged | Logged

## Concentration Analysis
| Micah Chitraroff |  | We left the room at 9:21 am but the CO2 concentration did not start to drop until 12 minutes after we left at 9:33 am. The room was slightly ventilated as we noticed that the room had vents but we did not hear any turn on while we were in there.
ENGR115
Ethan Pirkle, Claire Barelles
8:00am
Oct.25 2019
Input Parameters
| Measured Coutdoor | 487
| Assumed Coutdoor | 400
| Correction Factor | -87
| Assumed Room Capacity | 80
| Room Volume (ft^3) | 3010
| Ventilation Rate(ft^3/min) | 431.2766
Analysis
Measurement (Hours) | Measurement (Minutes) | Date and Time | Hobo CO2 Concentration | Actual CO2 Concentration [ppm] | Air Exchange Rate(Minutes) | Air Exchange Rate (Hours)
0 | 0 | 2019-10-25 09:34 | 807.1 | 720.1 | 0 | 0
0.016667 | 1 | 2019-10-25 09:35 | 804 | 717 | 0.0097317 | 0.5839
0.033333 | 2 | 2019-10-25 09:36 | 801.6 | 714.6 | 0.017331 | 1.0399
0.05 | 3 | 2019-10-25 09:37 | 768 | 681 | 0.13028 | 7.8167
0.066667 | 4 | 2019-10-25 09:38 | 745.4 | 658.4 | 0.21412 | 12.8475
0.083333 | 5 | 2019-10-25 09:39 | 719.8 | 632.8 | 0.31845 | 19.1072
0.1 | 6 | 2019-10-25 09:40 | 673.4 | 586.4 | 0.54074 | 32.4443
0.11667 | 7 | 2019-10-25 09:41 | 649 | 562 | 0.68104 | 40.8622
0.13333 | 8 | 2019-10-25 09:42 | 622.1 | 535.1 | 0.86262 | 51.7571
0.15 | 9 | 2019-10-25 09:43 | 586.7 | 499.7 | 1.1665 | 69.9881
0.16667 | 10 | 2019-10-25 09:44 | 567.8 | 480.8 | 1.3767 | 82.5994
0.18333 | 11 | 2019-10-25 09:45 | 532.4 | 445.4 | 1.9531 | 117.1873
0.2 | 12 | 2019-10-25 09:46 | 525.6 | 438.6 | 2.1154 | 126.9229
0.21667 | 13 | 2019-10-25 09:47 | 501.2 | 414.2 | 3.1154 | 186.9235
0.23333 | 14 | 2019-10-25 09:48 | 490.2 | 403.2 | 4.6055 | 276.329
0.25 | 15 | 2019-10-25 09:49 | 481.7 | 394.7 | #NUM! | #NUM!
0.26667 | 16 | 2019-10-25 09:50 | 479.2 | 392.2 | #NUM! | #NUM!
0.28333 | 17 | 2019-10-25 09:51 | 473.7 | 386.7 | #NUM! | #NUM!
0.3 | 18 | 2019-10-25 09:52 | 477.4 | 390.4 | #NUM! | #NUM!
[5 empty] | Logged | Logged

## CO2 Lab Questions
The air exchange rate of the soccer locker room in which we did the test was an average of 687.75 / hour.
In our test room, it would take only 0.0044 hours to remove a nonreactive chemical from inside of this room. The occupants are very safe inside the room and should not worry.
Based on the ASHRAE standards for indoor ventilation rate, the school is wasting lots of electricity in ventilation in the soccer locker room. This could also be partially due to its high cieling. In this particular circumstance, this amount of electricity used to produce a ventilation rate of around 430 scfm/person can be understandable because the amount of body odor in that room was noticeable even with the high ventilation rate.
Given the ASHRAE standard for ventilation rate and the extremely high ventilation rate for this room, realistically you could stack people in the room and have clean air to spare. The maximum that this room could fit is around 80 people space wise but the number could likely go into the hundreds to violate ASHRAE's standard. For example 500 people has a rate of 69 scfm/person which seems unrealistic.