## Ben's_Dorm_Room
Plot Title: Ben's Dorm Room
# | Date Time, GMT-07:00 | CO2, ppm
1 | 2013-09-20 14:33 | 680.1
2 | 2013-09-20 14:34 | 653.2
3 | 2013-09-20 14:35 | 638.6
4 | 2013-09-20 14:36 | 635.5
5 | 2013-09-20 14:37 | 522
6 | 2013-09-20 14:38 | 523.2
7 | 2013-09-20 14:39 | 509.2
8 | 2013-09-20 14:40 | 509.8
9 | 2013-09-20 14:41 | 507.9
10 | 2013-09-20 14:42 | 489.6
11 | 2013-09-20 14:43 | 485.3
12 | 2013-09-20 14:44 | 486
13 | 2013-09-20 14:45 | 506.7
14 | 2013-09-20 14:46 | 511.6
15 | 2013-09-20 14:47 | 509.2
16 | 2013-09-20 14:48 | 512.8
17 | 2013-09-20 14:49 | 511
18 | 2013-09-20 14:50 | 495.1
19 | 2013-09-20 14:51 | 615.4
20 | 2013-09-20 14:52 | 545.8
21 | 2013-09-20 14:53 | 567.2
22 | 2013-09-20 14:54 | 567.2
23 | 2013-09-20 14:55 | 579.4
24 | 2013-09-20 14:56 | 611.1
25 | 2013-09-20 14:57 | 608.1
26 | 2013-09-20 14:58 | 599.5
27 | 2013-09-20 14:59 | 589.1
28 | 2013-09-20 15:00 | 581.2
29 | 2013-09-20 15:01 | 581.8
30 | 2013-09-20 15:02 | 597.1
31 | 2013-09-20 15:03 | 599.5
32 | 2013-09-20 15:04 | 601.3
33 | 2013-09-20 15:05 | 605
34 | 2013-09-20 15:06 | 608.1
35 | 2013-09-20 15:07 | 615.4
36 | 2013-09-20 15:08 | 612.3
37 | 2013-09-20 15:09 | 616
38 | 2013-09-20 15:10 | 614.2
39 | 2013-09-20 15:11 | 613.6
40 | 2013-09-20 15:12 | 617.2
41 | 2013-09-20 15:13 | 614.8
42 | 2013-09-20 15:14 | 616
43 | 2013-09-20 15:15 | 617.8
44 | 2013-09-20 15:16 | 621.5
45 | 2013-09-20 15:17 | 623.3
46 | 2013-09-20 15:18 | 624.5
47 | 2013-09-20 15:19 | 622.1
48 | 2013-09-20 15:20 | 623.9
49 | 2013-09-20 15:21 | 620.3
50 | 2013-09-20 15:22 | 617.2
51 | 2013-09-20 15:23 | 620.3
52 | 2013-09-20 15:24 | 625.2
53 | 2013-09-20 15:25 | 623.3
54 | 2013-09-20 15:26 | 619
55 | 2013-09-20 15:27 | 618.4
56 | 2013-09-20 15:28 | 617.2
57 | 2013-09-20 15:29 | 619
58 | 2013-09-20 15:30 | 618.4
59 | 2013-09-20 15:31 | 617.2
60 | 2013-09-20 15:32 | 619
61 | 2013-09-20 15:33 | 617.2
62 | 2013-09-20 15:34 | 616
63 | 2013-09-20 15:35 | 612.3
64 | 2013-09-20 15:36 | 612.9
65 | 2013-09-20 15:37 | 601.3
66 | 2013-09-20 15:38 | 600.1
67 | 2013-09-20 15:39 | 606.2
68 | 2013-09-20 15:40 | 609.3
69 | 2013-09-20 15:41 | 611.1
70 | 2013-09-20 15:42 | 612.3
71 | 2013-09-20 15:43 | 610.5
72 | 2013-09-20 15:44 | 609.3
73 | 2013-09-20 15:45 | 609.3
74 | 2013-09-20 15:46 | 609.3
75 | 2013-09-20 15:47 | 610.5
76 | 2013-09-20 15:48 | 609.9
77 | 2013-09-20 15:49 | 617.2
78 | 2013-09-20 15:50 | 675.2
79 | 2013-09-20 15:51 | 667.3
80 | 2013-09-20 15:52 | 655.1
81 | 2013-09-20 15:53 | 647.1
82 | 2013-09-20 15:54 | 632.5
83 | 2013-09-20 15:55 | 611.1
84 | 2013-09-20 15:56 | 587.9
85 | 2013-09-20 15:57 | 583
86 | 2013-09-20 15:58 | 551.9
87 | 2013-09-20 15:59 | 553.1
88 | 2013-09-20 16:00 | 553.1
89 | 2013-09-20 16:01 | 549.5
90 | 2013-09-20 16:02 | 544
91 | 2013-09-20 16:03 | 536
92 | 2013-09-20 16:04 | 531.1
93 | 2013-09-20 16:05 | 528.1
94 | 2013-09-20 16:06 | 526.9
95 | 2013-09-20 16:07 | 527.5
96 | 2013-09-20 16:08 | 525
97 | 2013-09-20 16:09 | 518.9
98 | 2013-09-20 16:10 | 516.5
99 | 2013-09-20 16:11 | 515.9
100 | 2013-09-20 16:12 | 509.8
101 | 2013-09-20 16:13 | 502.4
102 | 2013-09-20 16:14 | 501.8
103 | 2013-09-20 16:15 | 503.1
104 | 2013-09-20 16:16 | 503.1
105 | 2013-09-20 16:17 | 504.9
106 | 2013-09-20 16:18 | 503.7
107 | 2013-09-20 16:19 | 503.1
108 | 2013-09-20 16:20 | 503.1
109 | 2013-09-20 16:21 | 515.9
110 | 2013-09-20 16:22 | 522
111 | 2013-09-20 16:23 | 517.1
112 | 2013-09-20 16:24 | 503.1
113 | 2013-09-20 16:25 | 486
114 | 2013-09-20 16:26 | 479.9
115 | 2013-09-20 16:27 | 473.7

## Air Exchange Rate
Nick Carter
ENGR 115 Fri 2-4
2013-10-10
Input Parameters
Measured Coutside(ppm) | 500
Assumed Coutside(ppm) | 400 |  |  |  |  | 6.35
Correction Factor(ppm) | -100 |  |  |  |  | 3.35
2.9
Room Volume (cubic feet) | 2173.6 |  |  |  |  | 61.6902
Room Capacity (people) | 18 |  |  |  |  | 2176.8979
Calculations:
Air Exchange Rate (per hour) | 0.1385
Time to remove non-reactive chemical (hr) | 21.6606
Ventilation Rate (cubic feet per person per minute) | 0.27874
# | Date Time, GMT-07:00 | CO2, ppm | CO2 Actual | Time(hr) | -ln((Croom(t)-Coutdoor)/(Ct=0-Coutdoor))
0 | 2013-09-20 15:50 | 675.2 | 575.2 | 0 | 0
1 | 2013-09-20 15:51 | 667.3 | 567.3 | 0.016667 | 0.04614
2 | 2013-09-20 15:52 | 655.1 | 555.1 | 0.033333 | 0.12186
3 | 2013-09-20 15:53 | 647.1 | 547.1 | 0.05 | 0.17482
4 | 2013-09-20 15:54 | 632.5 | 532.5 | 0.066667 | 0.27935
5 | 2013-09-20 15:55 | 611.1 | 511.1 | 0.083333 | 0.4555
6 | 2013-09-20 15:56 | 587.9 | 487.9 | 0.1 | 0.68973
7 | 2013-09-20 15:57 | 583 | 483 | 0.11667 | 0.74709
8 | 2013-09-20 15:58 | 551.9 | 451.9 | 0.13333 | 1.2166
9 | 2013-09-20 15:59 | 553.1 | 453.1 | 0.15 | 1.1938
10 | 2013-09-20 16:00 | 553.1 | 453.1 | 0.16667 | 1.1938
11 | 2013-09-20 16:01 | 549.5 | 449.5 | 0.18333 | 1.264
12 | 2013-09-20 16:02 | 544 | 444 | 0.2 | 1.3817
13 | 2013-09-20 16:03 | 536 | 436 | 0.21667 | 1.5824
14 | 2013-09-20 16:04 | 531.1 | 431.1 | 0.23333 | 1.7287
15 | 2013-09-20 16:05 | 528.1 | 428.1 | 0.25 | 1.8302
16 | 2013-09-20 16:06 | 526.9 | 426.9 | 0.26667 | 1.8738
17 | 2013-09-20 16:07 | 527.5 | 427.5 | 0.28333 | 1.8517
18 | 2013-09-20 16:08 | 525 | 425 | 0.3 | 1.9471
19 | 2013-09-20 16:09 | 518.9 | 418.9 | 0.31667 | 2.2268
20 | 2013-09-20 16:10 | 516.5 | 416.5 | 0.33333 | 2.3626
21 | 2013-09-20 16:11 | 515.9 | 415.9 | 0.35 | 2.3996
22 | 2013-09-20 16:12 | 509.8 | 409.8 | 0.36667 | 2.8835
23 | 2013-09-20 16:13 | 502.4 | 402.4 | 0.38333 | 4.2905
24 | 2013-09-20 16:14 | 501.8 | 401.8 | 0.4 | 4.5781
25 | 2013-09-20 16:15 | 503.1 | 403.1 | 0.41667 | 4.0345
26 | 2013-09-20 16:16 | 503.1 | 403.1 | 0.43333 | 4.0345
27 | 2013-09-20 16:17 | 504.9 | 404.9 | 0.45 | 3.5767
28 | 2013-09-20 16:18 | 503.7 | 403.7 | 0.46667 | 3.8576
29 | 2013-09-20 16:19 | 503.1 | 403.1 | 0.48333 | 4.0345

## Concentration Analysis
Nick Carter
ENGR 115 Fri 2-4
2013-10-10
Input Parameters
Measured Coutside(ppm) | 544
Assumed Coutside(ppm) | 400
Correction Factor(ppm) | -144
# | Date Time, GMT-07:00 | CO2, ppm | CO2 Actual
1 | 2013-09-20 14:33 | 680.1 | 536.1
2 | 2013-09-20 14:34 | 653.2 | 509.2
3 | 2013-09-20 14:35 | 638.6 | 494.6
4 | 2013-09-20 14:36 | 635.5 | 491.5
5 | 2013-09-20 14:37 | 522 | 378
6 | 2013-09-20 14:38 | 523.2 | 379.2
7 | 2013-09-20 14:39 | 509.2 | 365.2
8 | 2013-09-20 14:40 | 509.8 | 365.8
9 | 2013-09-20 14:41 | 507.9 | 363.9
10 | 2013-09-20 14:42 | 489.6 | 345.6
11 | 2013-09-20 14:43 | 485.3 | 341.3
12 | 2013-09-20 14:44 | 486 | 342
13 | 2013-09-20 14:45 | 506.7 | 362.7
14 | 2013-09-20 14:46 | 511.6 | 367.6
15 | 2013-09-20 14:47 | 509.2 | 365.2
16 | 2013-09-20 14:48 | 512.8 | 368.8
17 | 2013-09-20 14:49 | 511 | 367
18 | 2013-09-20 14:50 | 495.1 | 351.1
19 | 2013-09-20 14:51 | 615.4 | 471.4
20 | 2013-09-20 14:52 | 545.8 | 401.8
21 | 2013-09-20 14:53 | 567.2 | 423.2
22 | 2013-09-20 14:54 | 567.2 | 423.2
23 | 2013-09-20 14:55 | 579.4 | 435.4
24 | 2013-09-20 14:56 | 611.1 | 467.1
25 | 2013-09-20 14:57 | 608.1 | 464.1
26 | 2013-09-20 14:58 | 599.5 | 455.5
27 | 2013-09-20 14:59 | 589.1 | 445.1
28 | 2013-09-20 15:00 | 581.2 | 437.2
29 | 2013-09-20 15:01 | 581.8 | 437.8
30 | 2013-09-20 15:02 | 597.1 | 453.1
31 | 2013-09-20 15:03 | 599.5 | 455.5
32 | 2013-09-20 15:04 | 601.3 | 457.3
33 | 2013-09-20 15:05 | 605 | 461
34 | 2013-09-20 15:06 | 608.1 | 464.1
35 | 2013-09-20 15:07 | 615.4 | 471.4
36 | 2013-09-20 15:08 | 612.3 | 468.3
37 | 2013-09-20 15:09 | 616 | 472
38 | 2013-09-20 15:10 | 614.2 | 470.2
39 | 2013-09-20 15:11 | 613.6 | 469.6
40 | 2013-09-20 15:12 | 617.2 | 473.2
41 | 2013-09-20 15:13 | 614.8 | 470.8
42 | 2013-09-20 15:14 | 616 | 472
43 | 2013-09-20 15:15 | 617.8 | 473.8
44 | 2013-09-20 15:16 | 621.5 | 477.5
45 | 2013-09-20 15:17 | 623.3 | 479.3
46 | 2013-09-20 15:18 | 624.5 | 480.5
47 | 2013-09-20 15:19 | 622.1 | 478.1
48 | 2013-09-20 15:20 | 623.9 | 479.9
49 | 2013-09-20 15:21 | 620.3 | 476.3
50 | 2013-09-20 15:22 | 617.2 | 473.2
51 | 2013-09-20 15:23 | 620.3 | 476.3
52 | 2013-09-20 15:24 | 625.2 | 481.2
53 | 2013-09-20 15:25 | 623.3 | 479.3
54 | 2013-09-20 15:26 | 619 | 475
55 | 2013-09-20 15:27 | 618.4 | 474.4
56 | 2013-09-20 15:28 | 617.2 | 473.2
57 | 2013-09-20 15:29 | 619 | 475
58 | 2013-09-20 15:30 | 618.4 | 474.4
59 | 2013-09-20 15:31 | 617.2 | 473.2
60 | 2013-09-20 15:32 | 619 | 475
61 | 2013-09-20 15:33 | 617.2 | 473.2
62 | 2013-09-20 15:34 | 616 | 472
63 | 2013-09-20 15:35 | 612.3 | 468.3
64 | 2013-09-20 15:36 | 612.9 | 468.9
65 | 2013-09-20 15:37 | 601.3 | 457.3
66 | 2013-09-20 15:38 | 600.1 | 456.1
67 | 2013-09-20 15:39 | 606.2 | 462.2
68 | 2013-09-20 15:40 | 609.3 | 465.3
69 | 2013-09-20 15:41 | 611.1 | 467.1
70 | 2013-09-20 15:42 | 612.3 | 468.3
71 | 2013-09-20 15:43 | 610.5 | 466.5
72 | 2013-09-20 15:44 | 609.3 | 465.3
73 | 2013-09-20 15:45 | 609.3 | 465.3
74 | 2013-09-20 15:46 | 609.3 | 465.3
75 | 2013-09-20 15:47 | 610.5 | 466.5
76 | 2013-09-20 15:48 | 609.9 | 465.9
77 | 2013-09-20 15:49 | 617.2 | 473.2
78 | 2013-09-20 15:50 | 675.2 | 531.2
79 | 2013-09-20 15:51 | 667.3 | 523.3
80 | 2013-09-20 15:52 | 655.1 | 511.1
81 | 2013-09-20 15:53 | 647.1 | 503.1
82 | 2013-09-20 15:54 | 632.5 | 488.5
83 | 2013-09-20 15:55 | 611.1 | 467.1
84 | 2013-09-20 15:56 | 587.9 | 443.9
85 | 2013-09-20 15:57 | 583 | 439
86 | 2013-09-20 15:58 | 551.9 | 407.9
87 | 2013-09-20 15:59 | 553.1 | 409.1
88 | 2013-09-20 16:00 | 553.1 | 409.1
89 | 2013-09-20 16:01 | 549.5 | 405.5
90 | 2013-09-20 16:02 | 544 | 400
91 | 2013-09-20 16:03 | 536 | 392
92 | 2013-09-20 16:04 | 531.1 | 387.1
93 | 2013-09-20 16:05 | 528.1 | 384.1
94 | 2013-09-20 16:06 | 526.9 | 382.9
95 | 2013-09-20 16:07 | 527.5 | 383.5
96 | 2013-09-20 16:08 | 525 | 381
97 | 2013-09-20 16:09 | 518.9 | 374.9
98 | 2013-09-20 16:10 | 516.5 | 372.5
99 | 2013-09-20 16:11 | 515.9 | 371.9
100 | 2013-09-20 16:12 | 509.8 | 365.8
101 | 2013-09-20 16:13 | 502.4 | 358.4
102 | 2013-09-20 16:14 | 501.8 | 357.8
103 | 2013-09-20 16:15 | 503.1 | 359.1
104 | 2013-09-20 16:16 | 503.1 | 359.1
105 | 2013-09-20 16:17 | 504.9 | 360.9
106 | 2013-09-20 16:18 | 503.7 | 359.7
107 | 2013-09-20 16:19 | 503.1 | 359.1
108 | 2013-09-20 16:20 | 503.1 | 359.1
109 | 2013-09-20 16:21 | 515.9 | 371.9
110 | 2013-09-20 16:22 | 522 | 378
111 | 2013-09-20 16:23 | 517.1 | 373.1
112 | 2013-09-20 16:24 | 503.1 | 359.1
113 | 2013-09-20 16:25 | 486 | 342
114 | 2013-09-20 16:26 | 479.9 | 335.9
115 | 2013-09-20 16:27 | 473.7 | 329.7

## CO2 Questions
Question 1: The Air exchange rate for the library room was 0.1385 for every hour. For each hour 0.1385 units of air changed in the room.
Question 2: If the air exchange rate is low, then there will not be a quick exchange of air. Therefore, when an indoor air pollutant is exposed to the room, it will take much longer for the pollutant to be moved out of the room. Using the given equation, it would take 21 hours for my room to dispose of non-reactive chemicals. Based on this time, I would suggest that the inhabitants of the room be cautious about how many people there are in the room. I would also suggest not to be in the room for too long with more than 18 people, because the rate is too low to remove the chemicals from the indoor air.
Question 3: The occupants are being too cheap and not ventilating the room as well as it should be. The ventilation rate for about 18 people was .27. ASHRAE suggests that the ventilation rate is 15. I would conclude that the occupants are being too cheap because the ventilation rate is not high enough to inhabit the maximum amount of people that can be in that room. Even more so, the ventilation rate would be extremely low still if the room only had one person in it.
Question 4: Using the ASHRAE standard, I would suggest that there should be no one in the room given the ventilation rate is so low, 0.27. The ventilation rate for just one person was only 5. Therefore the ventilation rate is too low, and with a 21 hour time of non-reactive chemicals to dissipate, it would be very unsafe to be in.